REQUEST FOR QUOTATION
SPECIFICATION OF STANDARD GOODS

Procurement No:	46-G001-21

## Specification

### Background

The Project is aiming to procure 1 Generator 100-KVA

### Requirements

All supporting documentation must be in English.

### Installation services

<insert related services>

### Delivery Time

<insert requested delivery time, if general, otherwise in the table below>

## Description of the Goods

Here, list all items to be Tendered

(This part may be replaced by a proprietary Supplier description)

| Pos. | Description | Number | Delivery Time (to be Tendered) | Price (to be Tendered) |
| --- | --- | --- | --- | --- |
| 1 | 1 Diesel Generator (100-KVA) | 1 |  |  |
|  | Three phase four wires, 50HZ at 1500RPM, silent type General features: - Preferred engine brand: Perkins, Cummins, Caterpillar or equivalent - Alternator type: European type or equivalent - Oil and fuel filter fitted, water separator - Lube-oil drain valve fitted - Electric starter motor 12V.D.C - Output range: Prime-100KVA/Standby – 110KVA - Induction system: Turbocharged - 8-hour operation base tank - Key start /auto start - Mechanical/Electrical governor - 4 pole MCCB, set mounted starting battery - Soundproof and weather-proof canopy - Operation and Maintenance manual - Special Integrated Steel Base tank and sprayed overall in gloss enamel paint |  |  |  |