# REQUEST FOR QUOTATION
EVALUATION CRITERIA AND METHOD
STANDARD GOODS

## Procurement No:	46-G001-21

## Evaluation criteria and method

From the last time and date of submission of the Tenders to the time the Contract is awarded, if any Tenderer wishes to contact the Buyer on any matter related to its Tender, it should do so via email to the official email address.

Tenders will not be opened by the Buyer until after the deadline for submission of Tenders. In case of separate submissions of a Technical and Financial component, the Technical Component will be opened at one opening event, normally the day after the submission date, be listed in an opening protocol, submitted to, and thereafter be evaluated by the Evaluation Committee, without unnecessary delay. The Evaluation Committee, which has been appointed in according with the Buyer’s Procurement Laws, will first perform a Technical Evaluation. The Tenders that have passed the Technical Evaluation will thereafter be subject to a Financial Evaluation, which includes a calculation of the total scoring for both the Technical and the Financial Evaluation, in accordance with the formula presented below. The Financial Component will not be opened until after the Technical Evaluation is finalized, and then by a corresponding procedure.

In case Tenders are allowed to be in one submission, only, the above will apply, except for the separate openings.

Selection will be based on the following process. The total possible score for the Technical component is maximum 100 points. 70 % of the score received in the technical evaluation will be added to the obtained financial score, which is maximum 30 points, and calculated as described below.

### Evaluation of technical components

A Tender will be rejected at this stage if it fails to respond to important aspects of the Specification. The detailed technical evaluation criteria and possible scores for each are as follo

| Major Criteria | Details & Sub-Criteria | Possible Score |
| --- | --- | --- |
| - Genset Specification - Engine Specification - Alternator Technical Data: | - Voltage regulation Voltage regulation maintained within +/-0.5% - Between 0.8 and 1.0 lagging and unity - From no load to full load - At speed droop variation up to 4.5% - Frequency Adjustable Ratio - Change load from 0 to 100% within 1.0% (electric speed regulator), within 4.5% (mechanical speed regulator) - Frequency undulation - Load from 0-100%, Frequency undulation within 0.25% - No load wire volts max undulation ratio within 1.8% - Three phase balanced load in the order 5% Preferred engine brand: Perkins Cummins, Caterpillar or equivalent. In-line direct injection 6-cylinder diesel engine - Type : Water cooled, four cycle, Turbocharged - Construction: Two valves per cylinder forged steel crankshaft and connecting rods, cast iron block. Cranking current 640 amps at 0 decree celcius - Fuel System: - 12 volt fail safe actuator. Spin-on paper element fuel filters with Bosch fuel pump injection system with integral. - Electronic governor. Dual flexible fuel lines and connectors. Standards fuel water separator - Filters: - Air cleaner with dry element and restriction indicator. - Spin full flow lube oil filter - Oil cooler. Drain Tap - European Type or Equivalent - Brushless, self exciting - Class ( H ) insulation - Standard degree of protection is IP23 - Self regulating - With fan cooling - AC excitation, rotating rectification tube - Stator grease insulation covered - Rotator and excitation high polymer, Resist the corruption of oil and acid - Rotator balance is in accordance with BS5625 standard 12.5 - High –quality lubrication sealed long-time bearing - Rotator silicon steel close tight | 60 |
| Delivery time | - One month after award of Contract but will be dependent on the suppliers shipping schedule and realistic delivery time schedule | 20 |
| Have other options to when the particular materials is out of stock | - Must provide spare parts when required - The proposal is clear on the after sales services | 20 |
| Total Possible Technical Score |  | 100 |

The separate result of the technical evaluation will be the accumulated score obtained for each Tender multiplied with the weight of the technical component, 70 %, as defined above:

tv = ts * tw, where:

tv = total technical value

ts = technical result (technical score)

tw = technical weight in % (technical weight)

This is integrated in the final evaluation of technical and financial components, below.

### Evaluation of financial components

The total possible score for the financial component is 30 points. The maximum number of points assigned to financial component shall be allocated to the lowest priced Tender. All other financial Tenders shall receive points in inverse proportion according to the following formula:

p = y * (x / z), where:

p = points for the financial Tender being evaluated

y = maximum number of points available for the financial Tender

x = price of the lowest priced Tender

z = price of the Tender being evaluated

This is integrated in the final evaluation of technical and financial components, below.

### Evaluation of technical and financial components for total scoring

To determine which Tender that presents the best Value for Money, the score for the technical component is added to the score for the financial component. The totally highest score after this is the best Tender. The formula used for the complete and final evaluation is:

E = (ts * tw) + (tc / lc), where

E = evaluation result for the relevant Tender

ts = technical result (technical score)

tw = technical weight in % (technical weight)

lc = cost of the lowest financial Tender (lowest cost)

tc = cost of the Tender being evaluated (tender cost)

### Equal scoring result

In the case of equal results of the total scoring between two or more Tenders, the following shall apply:

- The highest technical score is awarded the Contract

- If still equal, the equally scored Tenderers will be invited to submit a ‘Best and Final Tender’ on the financial component

- Should the above, very exceptionally, not result in determining the best value for money, the award of a Contract will be decided by drawing of lots