REQUEST FOR PROPOSAL
SPECIFICATION OF WORKS

Procurement No:	47-w010-21

## Specification

Background

The primary function of the Betio berthing wharf is to facilitate safe passage of cargo and people from domestic and small vessels. KPA intends to improve the performance and delivery of this function through on-going maintenance of existing facilities and equipment. The current status of the Betio Wharf is deteriorating.

The wharf seawalls have been inspected by KPA jointly with MISE and the team has identified areas in need of work. Therefore, the objectives of this project is to have these areas repaired and/or replaced will help stave off the misfortune of the more costly damage and repairs typically associated with a complete seawall failure. The cost impact will not only affect KPA but also other stakeholders and businesses that depend on a durable wharf seawall.

### Requirements

All supporting documentation must be in English.

Please refer to the instruction on how to submit the tender templates

### Related services

Services required include the trade in earthwork & Excavation concrete work, seawall building.

### Project Time & Final Delivery

Would be subject to the Contractors delivery time schedule or proposed work plan

## Description of the Works

Here, list all items to be Tendered

(This part may be replaced by a Procuring Entity or proprietary Contractor description)

| Main Activity | Component | Description | Price (to be Tendered) |
| --- | --- | --- | --- |
| General | Administration | Includes team and site administrative responsibilities e.g stationery, transport, communication, site & security etc. |  |
|  | Preliminary | All preparation and supporting works to the actual construction work including, mobilisation and storage of material, machinery & equipment hire, etc. |  |
| Earth Work | Site Clearance | Clear site prior alignment and construction. E.g Dewatering and final clearing |  |
|  | Excavation | Excavate beach sand from wall footprint and below sediment bed as footing |  |
|  | Backfill | Importation of backfill materials |  |
| Concrete Work | Geotextile membrane | Provide and lay geotextile fabric or similar as detailed, including laps (Note: purchase 1 roll if does not sell out in meter. Make use of 10% contingency. |  |
|  | Cement mix | Mixing of concrete @ 1:2:4 mix |  |
|  | Sandbag | Filling and stacking of sandbag with concrete 25MPa for footing. |  |

Please refer to detail BOQ

| KPA DOCK WEST MALL - SANDBAG SEAWALL RESOTRATION WORK |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Job No: |  | 102020 |  | Prepared by: |  |  |
| Construction Total: |  |  |  | Checked by: |  |  |
| Total + 10% contigency: |  |  |  | Date prepared: |  |  |
| Sub- Total 1 |  |  |  | Date revised: |  |  |
| Total + 12.5% VAT |  |  |  | Project duration |  |  |
| Sub- Total 2 |  |  |  | No. of Labor |  |  |
| Grand total |  |  |  |  |  |  |
| References: |  | Quantities sourced from SURVEY DATA |  |  |  |  |
| 1.0 Preliminary & Generals |  |  |  |  |  |  |
| Item | Description |  | Quantity | Unit | Rate | Value |
| A | PRELIMINARY & GENERAL |  |  |  |  |  |
| 1.a | Allow for procurement |  | 1 | prov.sum | $ | $ |
| 2.a | Supervision |  | 1 | prov.sum | $ | $ |
| 3.a | Dewatering |  | 1 | prov.sum | $ | $ |
| 4.a | Allow for transportation |  | 1 | prov.sum | $ | $ |
| 5.a | Final cleaning |  | 1 | prov.sum | $ | $ |
| 1.0 Preliminary & General cost |  |  |  |  |  | $ |
| 2.0 Earth work |  |  |  |  |  |  |
| Item | Description |  | Quantity | Unit | Rate | Value |
| B 6.b | EARTHWORK & EXCAVATION Site Clearance Clear site prior alignment and construction |  | 75 | m2 | $ | $ |
| 7.b | Excavation Excavate beach sand from wall footprint and below sediment bed as footing 600mm deep. |  | 40 | m3 |  |  |
| 8.b | Backfill Importation of backfill materials |  | 280.00 | m3 | $ | $ |
| 2.0 Earthwork cost |  |  |  |  |  | $ |
| 3.0 Cast In Situ Concrete |  |  |  |  |  |  |
| Item | Description |  | Quantity | Unit | Rate | Value |
| C 9.c | CONCRETE WORK Geotextile membrane Provide and lay geotextile fabric or similar as detailed, including laps (Note: Purchase 1 roll if does not sell out in meter. Make use of 10% contingency) |  | 127.5 | m2 | $ | $ |
| 10.c | Portland cement 40kg Cement @1:2:4 mix |  | 49.5 | m3 | $ | $ |
| 11.c | Sand bag 400 x 300 x 150mm filled with concrete 25MPa for footing and revetment |  | 3000 | pcs | $ | $ |
| 3.0 Structural concrete works cost |  |  |  |  |  | $ |
| 4.0 Tools and Equipment |  |  |  |  |  |  |
| Item | Description |  | Quantity | Unit | Rate | Value |
| D | TOOLS, EQUIPMENT & SAFETY GEARS Allow for tools, equipment and safety gears |  | 1 | LS | $ | $ |
| 4.0 Tools & Equipment cost |  |  |  |  |  | $ |
| 5.0 Workforce |  |  |  |  |  |  |
| Item | Description |  | Quantity | Unit | Rate | Value |
| E | LABOUR Earthwork, Excavation & Concrete work |  | 1 | LS | $ | $ |
| 5.0 Workforce cost |  |  |  |  |  | $ |
| 6.0 SUMMARY |  |  |  |  |  |  |
| Item | Description |  |  |  |  | Value |
| 1 | 1.0 Preliminary & General cost |  | Subtotal |  |  | $ |
| 2 | 2.0 Earthwork cost |  | Subtotal |  |  | $ |
| 3 | 3.0 Structural concrete works cost |  | Subtotal |  |  | $ |
| 4 | 4.0 Tools & Equipment cost |  | Subtotal |  |  | $ |
| 5 | 5.0 Workforce cost |  | Subtotal |  |  | $ |
|  |  |  | TOTAL |  |  | $ |

## Tenderer’s References

### Relevant similar deliveries carried out in the last five years

Please, provide information on each delivery for which your firm/entity, either individually as a corporate entity or as one of the major companies within an association, was legally contracted.

| Works delivered | Reference | Contact details | Value |
| --- | --- | --- | --- |